Antibody Validation Article Template

The use of this template is optional; it is aimed to provide guidance on how to write up short antibody validation studies. It summarizes the details that should be included to make the validation article as useful to the scientific community as possible. Longer studies including the validation of an antibody or multiple antibodies are also welcome.

An example of an antibody validation article can be found here: http://f1000research.com/articles/3-244/v1.

# Title

The type of validation, antibody target, and validated technique should be clearly indicated in the title.

# Authors

Please list all authors using their full first name, initials of any middle names and their last name.

# Affiliations

Please insert: Department, Institute, City, Zip code and Country for each of the affiliations.

# Abstract (Max. 300 words)

The abstract should describe the setting of the validation study and the antibody and application tested. Also information on the biological system needs to be included i.e. species, cell lines, tissues and the treatment/fixation where relevant. Finally, a conclusion on whether or not the use of the antibody is recommended in this particular setting should be included, and how many replications of the experiment have been performed.

# Keywords

# Introduction

Briefly describe the existing information about the antibody and established common uses (and known limitations, where applicable), and include a description of the antibody target and the immunogen used to generate the antibody.

# Materials and methods

This section should contain all available antibody details including:

- Catalogue number, batch number, and manufacturers details

- Species in which the antibody was raised, and the species from which the target was obtained.

- Details of the target peptide or protein used to generate the antibody if available.

- Clonality of the antibody.

- Research Resource identifier (RRID) for each antibody, model organism, or software tool used, as can be found on http://scicrunch.com/resources#sthash.chZdgLi4.dpuf

Full experimental details should be included in the form of:

- A table listing the reagents used and their concentrations and manufacturers details. (please see below for an example).

- A table listing all antibodies and their details, for primary, secondary and control antibodies. (Please see below for an example).

- A sub header describing the controls used in the validation study.

- The step-by-step experimental protocol in bullet points, highlighting any modifications made to standard protocols. If the protocol is very detailed and long, please include a brief version in this section and submit the detailed protocol as a Supplementary File.

# Results

Insert a detailed description of the results, supported by figures and data sets. The aim is to provide an overview of how the antibody performs in different repeats, settings, and conditions rather than providing the single best images, which is why multiple images of the same experiment and repetitions should be shown, and the raw data behind the figures showing replications and multiple examples of obtained images (if applicable) should also be included as Data Sets. A title and legend for each of the Figures and for each Data Set should be provided at the end of the manuscript. Please also provide a title for all the Data Sets grouped together.

# Conclusion

This section should contain brief concluding remarks on the performance of the antibody and state conclusively whether this antibody is recommended for the intended target. Recommendations on further required validation studies and recommendations on the use of this antibody can also be provided in this section.

# Author contributions

Please state how the authors contributed to the Validation article.

# Competing interests

Please disclose any competing interests here

# Grant information

List any grants that were involved in the funding of this work here. Please include grant numbers and the initials of the person the grant was awarded to when appropriate.

# Acknowledgements

Please list any acknowledgements you wish to make here.

# References

List of cited literature: please do not include urls here, but rather add them to the main manuscript.

# Tables

Please add tables here. See below for some examples (taken from http://f1000research.com/articles/3-244/v1)

Table 1: Details of ancillary reagents for immunohistochemistry

| Process | Reagent | Manufacturer | Catalogue Number | Concentration |
| --- | --- | --- | --- | --- |
| Fixation | Neutral Buffered Formaldehyde | Sigma | HT501128 | 10% |
| Pretreatment | ER1 (Sodium Citrate, pH6) | Leica Biosystems | AR9961 | Proprietary |
|  | ER2 (Tris/EDTA, pH9) | Leica Biosystems | AR9640 | Proprietary |
|  | Enzyme 1 (Proteinase K) | Leica Biosystems | AR9551 | 100µg/ml |
| Staining | Peroxide Block | Leica Biosystems | DS9263 | Proprietary |
|  | Streptavidin – HRP | Leica Biosystems | DS9263 | Proprietary |
|  | Diaminobenizidine (DAB) | Leica Biosystems | DS9263 | Proprietary |
|  | Haematoxylin | Leica Biosystems | DS9263 | Proprietary |
|  | DAB Enhancer | Leica Biosystems | AR9452 | Proprietary |
| Washes/Blocks | Bond Wash (Tris Buffer) | Leica Biosystems | AR9590 | Proprietary |
|  | Antibody Diluent | Leica Biosystems | AR9352 | Proprietary |
|  | Avidin/Biotin Block | Vector Laboratories | SP-2001 | Proprietary |

Table 2: Details of primary and secondary antibodies.

| Antibody | Manufacturer | Catalogue Number | RRID |
| --- | --- | --- | --- |
| ARID1A | Atlas Antibodies | HPA005456 | AB_1078205 |
| GAPDH (Clone 14C10) | Cell Signaling | 2118 | AB_561053 |
| Donkey anti-Rabbit Biotin | Jackson Immunoresearch | 711-065-152 | AB_2333077 |
| Goat anti-Rabbit IRDye 680LT | Li-Cor Biosciences | 926-68021 | AB_10706309 |
| Goat anti-Rabbit IRDye 800CW | Li-Cor Biosciences | 926-32213 | AB_621848 |

Table 3: Details of tissue and cell pellet used during the validation.

| Species | Tissue Type | Strain/Cell line | Details | Fixation Time |
| --- | --- | --- | --- | --- |
| Murine | Uterus | C57Bl6 | Female | 16 hrs |
| Murine | Uterus | C57Bl6 KO Arid1afl/fl | Female | 24 hrs |
| Human | Cell Pellet | ES-2 |  | 20 hrs |
| Human | Cell Pellet | RMG-II |  | 20 hrs |

Table 4: Staining protocol for ARID1A immunohistochemistry.

| Protocol steps | Reagent | Time (mins) |
| --- | --- | --- |
| Antigen Retrieval | ER1 | 20 |
|  | Or ER2 | 20 |
|  | Or Enz1 | 10 |
| Staining | Peroxide Block | 5 |
|  | Avidin | 10 |
|  | Biotin | 10 |
|  | ARID1A | 15 |
|  | Donkey anti-rabbit Biotin | 8 |
|  | SA-HRP | 8 |
|  | DAB | 5 |
|  | DAB Enhancer | 10 |
| Counterstaining | Haematoxylin | 5 |

# Figure and Dataset legends

Please provide titles and legends for all figures and datasets here.