## Data
expt_id | batch_id | batch_prefix | batch_is_standard | run_start_secsincet0 | run_end_secsincet0 | run_start_dt | run_end_dt | run_duration_sec | run_duration_hrs | seq_duration_hrs | idle_duration_hrs | standard_wetlab_protocol | S1G1_hrs | S1G2_hrs | S2G1_hrs | S2G2_hrs | S3G1_hrs | S3G2_hrs | has_lambda_control_spikein | correct_DNA_input_mass | correct_library_volume | no_contamination | correct_init_fuel | reload_at_24h | poreswitch_at_24h | possible_failed_run | computer_crash | harddrive_filled_up | start_numbr | protocol_used | well_groups_used | read_class | seqduration_46_to_50h | expt_has_standard_data_46_to_50h | expt_has_standard_data_24_to_46h | expt_has_restart_before_24h | has_restart_24_to_46h | run_longer_than_50h | raw_fast5_provided
P1a-Lab1-R1 | ALL | ALL | NA | 1427422292 | 1427582304 | 2015-03-27 02:12 | 2015-03-28 22:38 | 160012.44 | 44.45 | 44.45 | 0 | 1 | [6 empty] | 1 | NA | 1 | 1 | 1 | NA | NA | 1 | 0 | 0 | NA | NA | NA | NA | NA | 0 | 0 | 0 | 0 | 0 | 1
P1a-Lab1-R1 | 1130_1 | Oxford2_MARC_Ecoli_499_03262015_1130_1 | 0 | 1427422292 | 1427582304 | 2015-03-27 02:12 | 2015-03-28 22:38 | 160012.44 | 44.45 | 44.45 | 0 |  | 24 | 20.45 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | NA | NA | NA | S1 | MAP_48Hr_Sequencing_Run | G1,G2 | standard | 0 | NA | NA | NA | NA | NA | 1
P1a-Lab1-R2 | ALL | ALL | NA | 1427926520 | 1428105192 | 2015-04-01 23:15 | 2015-04-04 00:53 | 178672.3 | 49.63 | 47.45 | 2.18 | 0 | [6 empty] | 1 | NA | 1 | 1 | 1 | NA | NA | 1 | 0 | 0 | NA |  | NA | NA | NA | 0 | 0 | 1 | 1 | 0 | 1
P1a-Lab1-R2 | 1518_1 | oxford3_MARC_EColi_040115_1518_1 | 0 | 1427926520 | 1427981236 | 2015-04-01 23:15 | 2015-04-02 14:27 | 54715.55 | 15.2 | 15.2 | 0 |  | 15.2 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | NA | NA | NA | S1 | MAP_48Hr_Sequencing_Run | G1 | standard | 0 | NA | NA | NA | NA | NA | 1
P1a-Lab1-R2 | 1702_1 | oxford3_MARC_EColi_040115_2x_1702_1 | 0 | 1427987824 | 1428072216 | 2015-04-02 16:17 | 2015-04-03 15:44 | 84392.18 | 23.44 | 23.44 | 0 |  | 0 | 0 | 23.44 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | NA | NA | NA | S2 | MAP_48Hr_Sequencing_Run | G1 | restart_before_24h | 0 | NA | NA | NA | NA | NA | 1
P1a-Lab1-R2 | 0438_1 | oxford3_MARC_EColi_040115_3x_0438_1 | 0 | 1428073480 | 1428105192 | 2015-04-03 16:05 | 2015-04-04 00:53 | 31712.3 | 8.81 | 8.81 | 0 |  | 0 | 0 | 0 | 0 | 8.81 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | NA | NA | NA | S3 | MAP_48Hr_Sequencing_Run | G1 | restart_before_24h | 0 | NA | NA | NA | NA | NA | 1
P1a-Lab2-R1 | ALL | ALL | NA | 1427530386 | 1427704372 | 2015-03-28 08:13 | 2015-03-30 09:33 | 173985.72 | 48.33 | 48.33 | 0 | 1 | [6 empty] | 1 | NA | 1 | 1 | 1 | NA | NA | 0 | 0 | 0 | NA | NA | NA | NA | NA | 1 | 0 | 0 | 0 | 0 | 0
P1a-Lab2-R1 | 1304_1 | makeson_PC_MA_286_R7.3_MARC_K12_03_27_15_1304_1 | 1 | 1427530386 | 1427704372 | 2015-03-28 08:13 | 2015-03-30 09:33 | 173985.72 | 48.33 | 48.33 | 0 |  | 24 | 24.33 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | NA | NA | NA | S1 | MAP_48Hr_Sequencing_Run | G1,G2 | standard | 1 | NA | NA | NA | NA | NA | 0
P1a-Lab2-R2 | ALL | ALL | NA | 1429923788 | 1430097769 | 2015-04-25 02:03 | 2015-04-27 02:23 | 173980.94 | 48.33 | 48.33 | 0 | 1 | [6 empty] | 1 | NA | 1 | 1 | 1 | NA | NA | 0 | 0 | 0 | NA |  | NA | NA | NA | 1 | 0 | 0 | 0 | 0 | 0
P1a-Lab2-R2 | 0306_1 | DEAMERNANOPORE_DD_575_R7.3_MARC_1a_Run2_0306_1 | 1 | 1429923788 | 1430097769 | 2015-04-25 02:03 | 2015-04-27 02:23 | 173980.94 | 48.33 | 48.33 | 0 |  | 24 | 24.33 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | NA | NA | NA | S1 | MAP_48Hr_Sequencing_Run | G1,G2 | standard | 1 | NA | NA | NA | NA | NA | 0
P1a-Lab3-R1 | ALL | ALL | NA | 1427482245 | 1427703933 | 2015-03-27 18:51 | 2015-03-30 09:26 | 221687.66 | 61.58 | 61.16 | 0.42 | 0 | [6 empty] | 0 | NA | 0 | 1 | 1 | NA | NA | 0 | 0 | 0 | NA | NA | NA | NA | NA | 1 | 0 | 0 | 0 | 1 | 0
P1a-Lab3-R1 | 5043_1 | FMH_MEDMicroBio_150327_E.coli_MARC1_5043_1 | 0 | 1427482245 | 1427656068 | 2015-03-27 18:51 | 2015-03-29 20:08 | 173822.78 | 48.28 | 48.28 | 0 |  | 24 | 24.28 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | NA | NA | NA | S1 | MAP_48Hr_Sequencing_Run | G1,G2 | standard | 1 | NA | NA | NA | NA | NA | 0
P1a-Lab3-R1 | 2744_1 | FMH_MEDMicroBio_150329_E.coli_MARC1_restart_after_48hrs_2744_1 | 0 | 1427657266 | 1427686380 | 2015-03-29 20:28 | 2015-03-30 04:33 | 29113.77 | 8.09 | 8.09 | 0 |  | 0 | 0 | 8.09 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | NA | NA | NA | S2 | MAP_48Hr_Sequencing_Run | G1 | restart_after_48h | 0 | NA | NA | NA | NA | NA | 0
P1a-Lab3-R1 | 3756_1 | FMH_MEDMicroBio_150329_E.coli_MARC1_restart_after_48hrs_3756_1 | 0 | 1427686678 | 1427703933 | 2015-03-30 04:38 | 2015-03-30 09:26 | 17254.66 | 4.79 | 4.79 | 0 |  | 0 | 0 | 0 | 0 | 4.79 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | NA | NA | NA | S3 | MAP_48Hr_Sequencing_Run | G1 | restart_after_48h | 0 | NA | NA | NA | NA | NA | 0
P1a-Lab3-R2 | ALL | ALL | NA | 1427818906 | 1427994428 | 2015-03-31 17:22 | 2015-04-02 18:07 | 175522.26 | 48.76 | 48.74 | 0.02 | 0 | [6 empty] | 0 | NA | 0 | 1 | 1 | NA | NA | 0 | 0 | 0 | NA |  | NA | NA | NA | 1 | 0 | 0 | 0 | 0 | 0
P1a-Lab3-R2 | 2144_1 | FMH_MEDMicroBio_150331_E.coli_MARC1_second_run_2144_1 | 0 | 1427818906 | 1427992731 | 2015-03-31 17:22 | 2015-04-02 17:39 | 173825.2 | 48.28 | 48.28 | 0 |  | 24 | 24.28 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | NA | NA | NA | S1 | MAP_48Hr_Sequencing_Run | G1,G2 | standard | 1 | NA | NA | NA | NA | NA | 0
P1a-Lab3-R2 | 3935_1 | FMH_MEDMicroBio_150331_E.coli_MARC1_second_run_restart_3935_1 | 0 | 1427992777 | 1427994428 | 2015-04-02 17:40 | 2015-04-02 18:07 | 1651.26 | 0.46 | 0.46 | 0 |  | 0 | 0 | 0.46 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | NA | NA | NA | S2 | MAP_48Hr_Sequencing_Run | G1 | restart_after_48h | 0 | NA | NA | NA | NA | NA | 0
P1a-Lab4-R1 | ALL | ALL | NA | 1427476113 | 1427615906 | 2015-03-27 17:09 | 2015-03-29 08:58 | 139793.14 | 38.83 | 38.83 | 0 | 1 | [6 empty] | 1 | NA | 1 | 1 | 1 | NA | NA | 0 | 0 | 1 | NA |  | NA | NA | NA | 1 | 0 | 0 | 0 | 0 | 1
P1a-Lab4-R1 | 0831_1 | BOWDEN05_20150327_MN02862_FAA35923_MdC_MARC_PhasheI_0831_1 | 0 | 1427476113 | 1427615906 | 2015-03-27 17:09 | 2015-03-29 08:58 | 139793.14 | 38.83 | 38.83 | 0 |  | 24 | 14.83 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | NA | NA | NA | S1 | MAP_48Hr_Sequencing_Run | G1,G2 | standard | 0 | NA | NA | NA | NA | NA | 1
P1a-Lab4-R2 | ALL | ALL | NA | 1428589575 | 1428750452 | 2015-04-09 15:26 | 2015-04-11 12:08 | 160876.69 | 44.69 | 44.69 | 0 | 0 | [6 empty] | 1 | NA | 1 | 1 | 0 | NA | NA | 0 | 0 | 0 | NA |  | NA | NA | NA | 0 | 1 | 0 | 0 | 0 | 1
P1a-Lab4-R2 | 2613_1 | BOWDEN05_20150409_MN02862_FAA38164_MdC_MARC_Phase1_2_2613_1 | 0 | 1428589575 | 1428750452 | 2015-04-09 15:26 | 2015-04-11 12:08 | 160876.69 | 44.69 | 44.69 | 0 |  | 24 | 20.69 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | NA | NA | NA | S1 | MAP_48Hr_Sequencing_Run | G1,G2 | standard | 0 | NA | NA | NA | NA | NA | 1
P1a-Lab5-R1 | ALL | ALL | NA | 1427814386 | 1427988136 | 2015-03-31 16:06 | 2015-04-02 16:22 | 173750.23 | 48.26 | 48.26 | 0 | 0 | [6 empty] | 1 | NA | 1 | 1 | 1 | NA | NA | 0 | 0 | 0 | NA |  | NA | NA | NA | 1 | 0 | 0 | 0 | 0 | 1
P1a-Lab5-R1 | 0624_1 | ZF_screens28_MARC_run1_0624_1 | 0 | 1427814386 | 1427988136 | 2015-03-31 16:06 | 2015-04-02 16:22 | 173750.23 | 48.26 | 48.26 | 0 |  | 24 | 24.26 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | NA | NA | NA | S1 | MAP_48Hr_Sequencing_Run | G1,G2 | standard | 1 | NA | NA | NA | NA | NA | 1
P1a-Lab5-R2 | ALL | ALL | NA | 1427814420 | 1428082977 | 2015-03-31 16:07 | 2015-04-03 18:43 | 268556.99 | 74.6 | 72.92 | 1.68 | 0 | [6 empty] | 1 | NA | 1 | 1 | 1 | NA | NA | 0 | 0 | 0 | NA |  | NA | NA | NA | 0 | 1 | 0 | 1 | 1 | 1
P1a-Lab5-R2 | 0657_1 | ZF_screens29_MARC_run2_0657_1 | 0 | 1427814420 | 1427954021 | 2015-03-31 16:07 | 2015-04-02 06:54 | 139600.86 | 38.78 | 38.78 | 0 |  | 24 | 14.78 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | NA | NA | NA | S1 | MAP_48Hr_Sequencing_Run | G1,G2 | standard | 0 | NA | NA | NA | NA | NA | 1
P1a-Lab5-R2 | 3417_1 | ZF_screens29_MARC_run2_2_3417_1 | 0 | 1427960059 | 1428082977 | 2015-04-02 08:34 | 2015-04-03 18:43 | 122917.99 | 34.14 | 34.14 | 0 |  | 0 | 0 | 24 | 10.14 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | NA | NA | NA | S2 | MAP_48Hr_Sequencing_Run | G1,G2 | restart_after_24h | 0 | NA | NA | NA | NA | NA | 1
P1b-Lab1-R1 | ALL | ALL | NA | 1430355589 | 1430580910 | 2015-04-30 02:00 | 2015-05-02 16:35 | 225321.17 | 62.59 | 59.84 | 2.75 | 0 | [6 empty] | 1 | NA | 1 | 1 | 1 | NA | NA | 1 | 0 | 1 | NA |  | NA | NA | NA | 0 | 0 | 1 | 1 | 1 | 1
P1b-Lab1-R1 | 5943_1 | oxford3_MARC_1B_04292015_ecoli_5943_1 | 0 | 1430355589 | 1430424783 | 2015-04-30 02:00 | 2015-04-30 21:13 | 69193.78 | 19.22 | 19.22 | 0 |  | 19.22 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | NA | NA | NA | S1 | MAP_48Hr_Sequencing_Run | G1 | standard | 0 | NA | NA | NA | NA | NA | 1
P1b-Lab1-R1 | 1739_1 | oxford3_MARC_1b_042915_ecoli_2x_1739_1 | 0 | 1430432265 | 1430485682 | 2015-04-30 23:18 | 2015-05-01 14:08 | 53417.08 | 14.84 | 14.84 | 0 |  | 0 | 0 | 14.84 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | NA | NA | NA | S2 | MAP_48Hr_Sequencing_Run | G1 | restart_before_24h | 0 | NA | NA | NA | NA | NA | 1
P1b-Lab1-R1 | 4809_1 | oxford3_MARC_1b_042915_ecoli_3x_4809_1 | 0 | 1430488094 | 1430580910 | 2015-05-01 14:48 | 2015-05-02 16:35 | 92816.17 | 25.78 | 25.78 | 0 |  | 0 | 0 | 0 | 0 | 24 | 1.78 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | NA | NA | NA | S3 | MAP_48Hr_Sequencing_Run | G1 | restart_after_24h | 0 | NA | NA | NA | NA | NA | 1
P1b-Lab1-R2 | ALL | ALL | NA | 1430942006 | 1431160193 | 2015-05-06 20:53 | 2015-05-09 09:30 | 218186.93 | 60.61 | 56.82 | 3.79 | 1 | [6 empty] | 0 | NA | 1 | 1 | 1 | NA | NA | 1 | 0 | 0 | NA |  | NA | NA | NA | 0 | 1 | 0 | 1 | 1 | 1
P1b-Lab1-R2 | 5320_1 | Oxford2_MARC_1b_050615_486pore_96ng_5320_1 | 0 | 1430942006 | 1431082431 | 2015-05-06 20:53 | 2015-05-08 11:54 | 140425.08 | 39.01 | 39.01 | 0 |  | 24 | 15.01 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | NA | NA | NA | S1 | MAP_48Hr_Sequencing_Run | G1,G2 | standard | 0 | NA | NA | NA | NA | NA | 1
P1b-Lab1-R2 | 4128_1 | Oxford2_MARC_1b_050615_486pore_96ng_2x_4128_1 | 0 | 1431096094 | 1431160193 | 2015-05-08 15:42 | 2015-05-09 09:30 | 64098.93 | 17.81 | 17.81 | 0 |  | 0 | 0 | 17.81 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | NA | NA | NA | S2 | MAP_48Hr_Sequencing_Run | G1 | restart_after_24h | 0 | NA | NA | NA | NA | NA | 1
P1b-Lab2-R1 | ALL | ALL | NA | 1429213799 | 1429387814 | 2015-04-16 20:50 | 2015-04-18 21:10 | 174014.5 | 48.34 | 48.34 | 0 | 1 | [6 empty] | 1 | NA | 1 | 1 | 1 | NA | NA | 0 | 0 | 0 | NA |  | NA | NA | NA | 1 | 0 | 0 | 0 | 0 | 0
P1b-Lab2-R1 | 4956_1 | DEAMERNANOPORE_DD_575_R7.3_MARC_K12_Ib_04_16_15_4956_1 | 1 | 1429213799 | 1429387814 | 2015-04-16 20:50 | 2015-04-18 21:10 | 174014.5 | 48.34 | 48.34 | 0 |  | 24 | 24.34 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | NA | NA | NA | S1 | MAP_48Hr_Sequencing_Run | G1,G2 | standard | 1 | NA | NA | NA | NA | NA | 0
P1b-Lab2-R2 | ALL | ALL | NA | 1429213851 | 1429387794 | 2015-04-16 20:51 | 2015-04-18 21:10 | 173943.35 | 48.32 | 48.32 | 0 | 1 | [6 empty] | 1 | NA | 1 | 1 | 1 | NA | NA | 0 | 0 | 0 | NA |  | NA | NA | NA | 1 | 0 | 0 | 0 | 0 | 0
P1b-Lab2-R2 | 5048_1 | makeson_PC_MA_286_R7.3_MARC_K12_Ib_04_16_15_5048_1 | 1 | 1429213851 | 1429387794 | 2015-04-16 20:51 | 2015-04-18 21:10 | 173943.35 | 48.32 | 48.32 | 0 |  | 24 | 24.32 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | NA | NA | NA | S1 | MAP_48Hr_Sequencing_Run | G1,G2 | standard | 1 | NA | NA | NA | NA | NA | 0
P1b-Lab3-R1 | ALL | ALL | NA | 1429552175 | 1429636139 | 2015-04-20 18:50 | 2015-04-21 18:09 | 83964.44 | 23.32 | 23.32 | 0 | 1 | [6 empty] | 1 | NA | 1 | 0 | 1 | NA | NA | 0 | 1 | 0 | NA |  | NA | NA | NA | 0 | 0 | 0 | 0 | 0 | 0
P1b-Lab3-R1 | 4933_1 | FMH_MEDMicroBio_150420_E.coli_MARC1B_run1_4933_1 | 0 | 1429552175 | 1429636139 | 2015-04-20 18:50 | 2015-04-21 18:09 | 83964.44 | 23.32 | 23.32 | 0 |  | 23.32 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | NA | NA | NA | S1 | MAP_48Hr_Sequencing_Run | G1 | standard | 0 | NA | NA | NA | NA | NA | 0
P1b-Lab3-R2 | ALL | ALL | NA | 1431011646 | 1431205941 | 2015-05-07 16:14 | 2015-05-09 22:12 | 194295.32 | 53.97 | 53.94 | 0.03 | 1 | [6 empty] | 1 | NA | 1 | 0 | 1 | NA | NA | 0 | 0 | 0 | NA |  | NA | NA | NA | 0 | 1 | 0 | 1 | 1 | 0
P1b-Lab3-R2 | 1359_1 | FMH_MEDMicroBio_150507_E.coli_MARC1b_run1_1359_1 | 0 | 1431011646 | 1431116256 | 2015-05-07 16:14 | 2015-05-08 21:18 | 104610.3 | 29.06 | 29.06 | 0 |  | 24 | 5.06 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | NA | NA | NA | S1 | MAP_48Hr_Sequencing_Run | G1,G2 | standard | 0 | NA | NA | NA | NA | NA | 0
P1b-Lab3-R2 | 1924_1 | FMH_MEDMicroBio_150507_E.coli_MARC1b_run1_1924_1 | 0 | 1431116369 | 1431205941 | 2015-05-08 21:19 | 2015-05-09 22:12 | 89572.32 | 24.88 | 24.88 | 0 |  | 0 | 0 | 24.088 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | NA | NA | NA | S2 | MAP_48Hr_Sequencing_Run | G1 | restart_after_24h | 0 | NA | NA | NA | NA | NA | 0
P1b-Lab4-R1 | ALL | ALL | NA | 1429717253 | 1429891096 | 2015-04-22 16:41 | 2015-04-24 16:58 | 173843.14 | 48.29 | 48.29 | 0 | 1 | [6 empty] | 1 | NA | 1 | 1 | 1 | NA | NA | 0 | 0 | 0 | NA |  | NA | NA | NA | 1 | 0 | 0 | 0 | 0 | 1
P1b-Lab4-R1 | 4051_1 | BOWDEN05_20150422_MN02862_FAA40596_MdC_MARC_Phase1b.1_4051_1 | 1 | 1429717253 | 1429891096 | 2015-04-22 16:41 | 2015-04-24 16:58 | 173843.14 | 48.29 | 48.29 | 0 |  | 24 | 24.29 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | NA | NA | 1 | S1 | MAP_48Hr_Sequencing_Run | G1,G2 | standard | 1 | NA | NA | NA | NA | NA | 1
P1b-Lab4-R2 | ALL | ALL | NA | 1432051862 | 1432225624 | 2015-05-19 17:11 | 2015-05-21 17:27 | 173762.42 | 48.27 | 48.27 | 0 | 1 | [6 empty] | 1 | NA | 1 | 1 | 1 | NA | NA | 0 | 0 | 0 | NA |  | NA | NA | NA | 1 | 0 | 0 | 0 | 0 | 1
P1b-Lab4-R2 | 1056_1 | BOWDEN05_20150519_MN02862_FAA39560_MdC_MARC_Ph1b2_1056_1 | 1 | 1432051862 | 1432225624 | 2015-05-19 17:11 | 2015-05-21 17:27 | 173762.42 | 48.27 | 48.27 | 0 |  | 24 | 24.27 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | NA | NA | NA | S1 | MAP_48Hr_Sequencing_Run | G1,G2 | standard | 1 | NA | NA | NA | NA | NA | 1
P1b-Lab5-R1 | ALL | ALL | NA | 1429107023 | 1429248612 | 2015-04-15 15:10 | 2015-04-17 06:30 | 141589.17 | 39.33 | 39.33 | 0 | 0 | [6 empty] | 1 | NA | 1 | 1 | 1 | NA | NA | 0 | 0 | 0 | NA |  | NA | NA | NA | 0 | 1 | 0 | 0 | 0 | 1
P1b-Lab5-R1 | 1021_1 | ZF_screens27_MARC_Phase1b_run1_1021_1 | 0 | 1429107023 | 1429248612 | 2015-04-15 15:10 | 2015-04-17 06:30 | 141589.17 | 39.33 | 39.33 | 0 |  | 24 | 15.33 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | NA | NA | NA | S1 | MAP_48Hr_Sequencing_Run | G1,G2 | standard | 0 | NA | NA | NA | NA | NA | 1
P1b-Lab5-R2 | ALL | ALL | NA | 1429107223 | 1429281039 | 2015-04-15 15:14 | 2015-04-17 15:31 | 173816.27 | 48.28 | 48.28 | 0 | 0 | [6 empty] | 1 | NA | 1 | 1 | 1 | NA | NA | 0 | 0 | 0 | NA |  | NA | NA | NA | 1 | 0 | 0 | 0 | 0 | 1
P1b-Lab5-R2 | 1341_1 | ZF_screens29_MARC_Phase1b_run2_1341_1 | 0 | 1429107223 | 1429281039 | 2015-04-15 15:14 | 2015-04-17 15:31 | 173816.27 | 48.28 | 48.28 | 0 |  | 24 | 24.28 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | NA | NA | NA | S1 | MAP_48Hr_Sequencing_Run | G1,G2 | standard | 1 | NA | NA | NA | NA | NA | 1
[12 empty] | number of expts | number of batches
[11 empty] | Phase 1a | 4 | 10 | 9 | 4 | 1 | 2 | 0
[11 empty] | Phase 1b | 7 | 10 | 8 | 3 | 0 | 1 | 1
[11 empty] | Phase 1 | 11 | 20 | 17 | 7 | 1 | 3 | 1

## Desc
Field | Description | Example | Source
marc_run_id | MARC run identifier | P1a-Lab1-R1
batch_id | ONT read batch identifier | ALL or 1130_1 | fast5 filename
batch_prefix | Read batch prefix | ALL or Oxford2_MARC_Ecoli_499_03262015_1130_1 | fast5 filename
run_start_secsincet0 | Date and time run was started, as the number of seconds since the start of The Epoch (01-Jan-21970 00:00:00) | 1427422292 | exp_start_time
run_end_secsincet0 | Date and time run was terminated, as the number of seconds since the start of The Epoch (01-Jan-21970 00:00:00) | 1427582304 | run_start_dt + (read start time in seconds since run start) + (number of seconds events were accumulating), converted to local datetime
run_start_dt | Text version of run_start_secsincet0 | 2015-03-27 02:12 | run_start_secsincet0 converted to local datetime
run_end_dt | Text version of run_end_secsincet0 | 2015-03-28 22:38 | run_end_secsincet0 converted to local datetime
run_duration_sec | Duration of run in seconds | 160012.44 | run_end_dt - run_start_dt
run_duration_hrs | Duration of run in hours | 74.6 | run_duration_sec / 60.0 / 60.0
seq_duration_hrs | Time spent sequencing between run start and end in hours | 72.92 | sum of hours generating each batch of reads
idle_duration_hrs | Time spend idle between run start and end | 1.68 | run_duration_hrs - seq_duration_hrs
CI THIS IS OUT OF DATE